## Slide 1: Day 3 Part 2 Technician’s Guide & Workbook for Home Evaluation and Performance Improvement

## Slide 2: Discretionary Items for Cost Benefit 3.11

## Slide 3: Plumbing Fixtures
The Technician should record energy-saving opportunities related the discretionary items when performing the home audit. Discretionary item procedures will be briefly outlined below by type:
Plumbing fixtures, should be evaluated for water savings potential.
Plumbing fixtures including sprinkler systems, should be checked for leaks.

## Slide 4: Plumbing Fixtures
Older plumbing fixtures should be noted and changing to Water Sense labeled more efficient fixtures should be evaluated for the possible gallons per minute (GPM) savings for the following a minimum:
Toilets
Shower heads
Faucets (and aerators)

## Slide 5: Plumbing Fixtures

## Slide 6: Plumbing Fixtures

## Slide 7: Plumbing Fixtures

## Slide 8: Plumbing Fixtures

## Slide 9: Plumbing Fixtures

## Slide 10: Plumbing Fixtures

## Slide 11: Final Note
Check for leaks:
When the water meter is not moving,
no water is being used!

## Slide 12: Acceptable Documentation
Test date.
Location.
Name of Technician.
Identify discretionary updates that could offer energy or water usage savings if installed.

## Slide 13: 4.0 Assessing Improvements Identifying Improvements

## Slide 14: Identifying Improvements
Measurements and observations collected during the audit shall be evaluated to determine the impact of their implementation on performance of the building.
The auditor shall use Table 1 to compare the recorded measurement or observation to the comparative benchmark, and identify improvement opportunities.

## Slide 15: Identifying Improvements
The auditor shall note if different comparative benchmarks are used and the rationale for the substitution.
For example: Different vale used due to local code requirement.

## Slide 16: Assessing Improvements
Section 4 in the QH 12 Standard provides procedures the Technician uses to evaluate the measurements, observations, and client’s objectives in order to develop a prioritized list of improvements. Information gathered during the audit shall be analyzed against the benchmarks in Section 4 to determine where opportunities for improvement exist.

## Slide 17: Assessing Improvements
The identified improvement opportunities are assigned a cost and then prioritized during the audit process. The goal is for the building to have improvements that meet all of the safety requirements while saving energy and providing better, durability, and indoor air quality.

## Slide 18: Identifying Improvements
The Table 1 in Section 4 of the QH 12 is a convenient way to record the information covered in the documentation sections from Section 3. Table 4-1 in this section of presentations provides the same information and additional information on the requirements.

## Slide 19: Identifying Improvements
When improvement items are required by local code, they will be specific to the local authority having jurisdiction’s specifications. In those cases, the Technician must meet those requirements. More often, they will be added by their company as an added benefit option for their customers. In those cases, the Technician needs to follow their company’s policies and procedures for adding them to the audit.

## Slide 20: Identifying Improvements
Measurements and observations collected during the audit need to be evaluated by the Technician so the impact of their implementation on the performance of the building can be determined.
Table 4-1 values entered based measurements (or findings) are then compared to the comparative benchmarks that are listed in the table. Those comparisons are then used to identify the improvement opportunities that will provide the homeowner with the most bang for the buck.

## Slide 21: Identifying Improvements
Whenever the comparative benchmarks used are different than those found in Table 4-1, the different values used, and the reason for the substitution, needs to be explained in the documentation and the best practice would be to include a full explanation on the table being used.

## Slide 22: Getting Started

## Slide 23: Getting Started
Your Name Here

## Slide 24: Getting Started
Date work was done

## Slide 25: Getting Started
Address and possibly a note if more than one copy of Table 4-1 is needed
Don Dandy
April 1, 2015
1234AZ

## Slide 26: Assessment Table Values for CO

## Slide 27: Getting Started
Address and possibly a note if more than one copy of Table 4-1 is needed
Don Dandy
April 1, 2015
1234AZ

## Slide 28: Table 4-1

## Slide 29: Table 4-1
55

## Slide 30
55
PASS

## Slide 31: Table 4-1
15

## Slide 32: Table 4-1
15
FAIL

## Slide 33
10

## Slide 34
10
FAIL

## Slide 35
Top Burner

## Slide 36
The Carbon Monoxide, air-free ppm may be calculated using one of the following formulas and the data from table 1, COAFppm = (UCO2 ÷ CO2) x CO
or
COAFppm = [20.9 ÷ (20.9 - O2)] x COppm
where:
COAFppm = Carbon Monoxide, air-free ppm
CO2 = The measured concentration of carbon dioxide in combustion products percent
COppm = The measured concentration of carbon monoxide in combustion products in percent
O2 = The measured percentage of oxygen in the combustion gas
UCO2 = The ultimate concentration of carbon dioxide for the fuel being burned in percent. (for natural gas 12.2% and for propane 14.0%)

## Slide 37
19
Top Burner

## Slide 38
19
Table Values

## Slide 39
19
Top Burner
PASS

## Slide 40: Assessment Table Values for Combustion Appliances

## Slide 41: Table 4-1

## Slide 42: Table 4-1

## Slide 43: Table 4-1

## Slide 44: Table 4-1
Shut off fitting after the meter

## Slide 45
YES

## Slide 46
enclosed porch
YES

## Slide 47
YES
enclosed porch
50K Btuh

## Slide 48
YES
enclosed porch
50K Btuh

## Slide 49
YES
enclosed porch
50K Btuh
?

## Slide 50
YES
enclose porch
50K Btuh
?
porch 20 x 20 x 10 = 4,000 ft3

## Slide 51
YES
enclose porch
?
porch 20 x 20 x 10 = 4,000 ft3
4,000 ft3 x 20 = 80,000 Btuh
50K Btuh

## Slide 52
YES
enclose porch
50K Btuh
PASS
porch 20 x 20 x 10 = 4,000 ft3
4,000 ft3 x 20 = 80,000 Btuh
80,000 Btuh ˃ 50,000 Btuh

## Slide 54
Measure the areas enter and compare

## Slide 57: Table 4-1

## Slide 58: Table 4-1

## Slide 59: Table 4-1

## Slide 60: Table 4-1

## Slide 61: Table 4-1

## Slide 62: Table 4-1
Same for each
appliance