## Slide 1: Day 4 Part 1 Technician’s Guide & Workbook for Home Evaluation and Performance Improvement

## Slide 2: Assessment Table Discretionary Values

## Slide 3: Discretionary VALUES

## Slide 4: Discretionary VALUES

## Slide 5: Discretionary VALUES

## Slide 6: Discretionary VALUES
Also can be filled in with other
recommended items done or to be done
like adding seismic (earthquake) safety
shut offs in California or Radon testes or
elimination systems in locations where radon
is known to be or is detected.

## Slide 7: END OF TABLE VALUES!!!!

## Slide 8: Assessing Improvements Identifying Improvements

## Slide 9: 4.2 Cost Benefit Analysis

## Slide 10: Cost Benefit Analysis
Technicians must develop an audit report that covers the opportunities to improve building performance items identified in Sections 2 and 3 in the 12 QH. The audit report’s cost vs benefit findings are then presented to the homeowners. The Technician and the homeowners use the report’s information to develop a comprehensive plan for implementing the improvements and upgrades.

## Slide 11: Acceptable Procedures (Step 1)
The Technician will provide the homeowners with the costs associated with the implementation of a building performance improvement. The actual work to be contracted is based on the submitted and accepted proposals, or for ongoing projects historical documentation and updated proposals. The following are considerations that need to be specifically accounted for between the Technician and the homeowner:

## Slide 12: Acceptable Procedures (Step 1)
All health and safety hazards will be addressed, and all safety hazards that required evacuation of the home will be repaired (or turned off and tagged so there is no danger present) before any other work is started.
Submitted fixed-price proposals for the implementation of a building performance improvement must supersede estimates based on historical knowledge.

## Slide 13: Acceptable Procedures (Step 1)
The prioritization of building performance improvements may need to be updated in the fixed-price proposals when auditing data is used instead of the original baseline estimates that were based on historical knowledge.
Cost estimates and submitted fixed-price proposals must be based on implementing the improvement opportunities in accordance with recognized standards and procedures in §6.0 of this guide & workbook.

## Slide 14: Acceptable Procedures (Step 2)
The Technician must complete the cost/benefit analysis using software and/or engineering calculations capable of predicting energy savings associated with proposed improvement measures and measure packages. Acceptable alternatives for the cost/benefit analysis are not covered in this guide. The Technician needs to learn one of the following methods for doing the cost/benefit analysis:

## Slide 15: Acceptable Procedures (Step 2)
Software programs accredited by the Residential Energy Services Network (RESNET). Or, software or calculation methodology as approved by the AHJ.

## Slide 16: Acceptable Procedures (Step 2)
Manual J8 load calculations are required when HVAC systems are to be evaluated. Some of the Manual J software programs recognized by ACCA also have programming available that includes energy modeling capabilities. Note: The energy modeling programs can be used to show energy savings based on the Btuh required.

## Slide 17: Acceptable Procedures (Step 2)
Thus, by making changes on the Manual J8 to insulation values, door and window types individually, and then using a utility cost based calculator to base the cost of heating and cooling on the existing vs the new Btuh: a complete itemized proposal can be developed by the Technician.

## Slide 18: Acceptable Procedures (Step 2)
At this time, some of the ACCA Manual J8 approved software providers do not have an energy savings calculator so the use of another program may be required. However, the Btuh inputs from a Manual J8 altered for the proposed changes could still be used to evaluate the savings for each proposed item listed (e.g.s, windows, doors, attic and/or other insulation, smaller HVAC system, all of the above or any combination).

## Slide 19: Acceptable Procedures (Best Practices)
Best practices for the Technician include using the previous 12 months of utility bills (historical consumption data), in conjunction with the modeling programs listed above to more accurately estimate the benefits associated with each of the performance improvement recommendations for a home.

## Slide 20: Acceptable Procedures (Best Practices)
Note: Software selected must have inputs for all of the values listed in Table 4-1. When the software does not include inputs required by this Standard, the Technician must add all missing values to an additional written evaluation in order to meet the minimum requirements in this Standard.

## Slide 21: Acceptable Procedures (Step 3)
Supplementary information that will affect the decision making process regarding building performance improvement opportunities need to be recorded along with any condition related elements that have been added. The condition related items include, but are not limited to:

## Slide 22: Acceptable Procedures (Step 3)
The age of the item inspected.
Condition or operational ability of the item inspected.
Presence of hazardous materials or improper storage of combustible materials.

## Slide 23: Acceptable Procedures (Step 3)
Performance improvements that may lead to building modification updates to meet new code requirements when changes are made (e.g.s, when replacing siding might also lead to a requirement for improving wall’s insulation value, or changing out the furnace may require meeting a minimum outside fresh air requirement).

## Slide 24: Acceptable Documentation
Notes on work that is required to be completed by others before the projects in the contract can be started (e.g.s, New roof, or grading of lot to be done to move the water runoff away from the house, or new gutters to be installed, etc., to be done by others first).

## Slide 25: Presenting Performance Improvements 5.0

## Slide 26: Presenting Performance Improvements
The building performance improvements must be presented in a manner that supports the decision making process. A good practice is to place safety related improvements first and to always remember the homeowner is the customer and will make the decisions. Thus, when something is subtracted or added the Technician needs to facilitate the home owner’s selections.

## Slide 27: Presenting Performance Improvements
Since the building performance improvements need to reflect the house as one large system with interacting components. The Technician needs to consider how the recommended corrective actions interact with each other.
This is especially true when removing or adding items based on the homeowner’s needs.

## Slide 28: Presenting Performance Improvements
All of the building performance improvement opportunities need to be prioritized based on:
Safety and health, because a home cannot be left with unsafe conditions present.
Energy or heat transfer benefit, because energy savings and the pay back of measures will make the work more affordable to the homeowner.

## Slide 29: Presenting Performance Improvements
Issues related to comfort, IAQ, or durability benefits because comfort and durability will make the changes worthwhile and they will endure over time. Obviously, IAQ jumps to a number 1 priority where safety concerns are raised.

## Slide 30: Presenting Performance Improvements
Home owners need to be provided with choices based on individual building performance improvements or improvement packages. To meet 12 QH requirements, all performance improvements should be specified, designed, and implemented in a way that meets or exceeds all of the recognized industry standards and good practices.

## Slide 31: Presenting Performance Improvements
Be sure that all of the decision makers are available to hear the presentation, or there may be unanswered questions that will cause problems later in the process.

## Slide 32: Presenting Performance Improvements
The home, owners priorities are always correct, unless the homeowner’s selection(s) would compromise the safety of the occupants they are your customer. So make the sale and accept their choices with enthusiasm!

## Slide 33: Presenting Performance Improvements
However, make sure that they understand how the changes made will impact the overall plan. They can choose to implement the recommended changes in stages as long as they do not involve compromising safety.

## Slide 34: Presenting Performance Improvements
Building performance improvements shall be presented in the priority order, and sequenced to provide the greatest energy savings, most improved thermal transfer, or in an order that highlights items that meet the client’s objectives for comfort, IAQ or durability.

## Slide 35: Presenting Performance Improvements
Building performance improvements shall be presented in the priority order, and sequenced to provide the greatest energy savings, most improved thermal transfer, or in an order that highlights items that meet the client’s objectives for comfort, IAQ or durability.

## Slide 36: Presenting Performance Improvements
Building owner interaction: Building improvement opportunities shall be presented based on the priorities listed in the steps on the following slides. The home owners are encouraged to select the improvement opportunities that best meet their objectives.

## Slide 37: Presenting Performance Improvements
The Technician should present both measure-level and package-level cost/benefit analyses. A measure-level analysis helps the homeowner pick the most cost effective items, while a package-level analysis help educate on the interrelation of improvements.

## Slide 38: Presenting Performance Improvements
Building performance improvements need to be presented in groupings that will not harm the occupants, or degrade the building’s integrity, or the performance.

## Slide 39: Proposal Requirements
All proposed improvements must meet all of the following requirements that are applicable:
Meet applicable codes and regulations for the jurisdiction.
Specify duct sealing measures to resolve deficiencies identified during the audit.
Include a statement indicating that the energy savings are estimated; see §3 in this guideline for examples of wording to address this issue.

## Slide 40: Proposal Requirements
Refer to the minimum standard requirements in §6.0 in the 12 QH (Implementing Identified Improvements) to facilitate obtaining comparable bids from multiple sources that desire to effect the improvements.
The Technician, or an independent auditor if required by an AHJ, shall perform a final test-out per §7.0 in the 12 QH to ensure the improvement objectives were met.

## Slide 41: Proposal Requirements
Identify the recognized software used to determine the energy or Btu/h savings per building performance improvement opportunity.
Recommend radon testing and mitigation in accordance with state and federal requirements: http://www.epa.gov/radon/whereyoulive.html
If none, see US EPA guidance for testing and mitigation.

## Slide 42: RADON

## Slide 43: Proposal Requirements
Recommend allergen testing and mitigation in accordance with protocols established in US Department of Housing and Urban Development (HUD). Additional information is available as a free downloadable pdf document called Healthy Homes Issues: Asthma http://portal.hud.gov/hudportal/documents/huddoc?id=DOC_12480.pdf

## Slide 44: Proposal Requirements
When hazardous materials are found in the home during the audit, include the provision to conduct an envelope leakage test (per §3 in the Technician’s Guide for 12 QH) after the remediation of hazardous materials. Proposed improvements shall include remediation steps based on the results of the envelope leakage test and the procedures in §4.0 in the Technician’s Guide for 12 QH.
Include the installation of CO detector(s) outside of all bedrooms in homes that use combustion appliances.

## Slide 45: Acceptable Procedures
Once the measurements are taken, the auditing information can be prioritized. All of the reference benchmarks are used to develop the building performance improvements. A prioritized list needs to be developed and presented in the following four step order:

## Slide 46: Acceptable Procedures (Step 1)
Safety, including fossil fuel appliance and combustion Safety issues identified to include:
High CO levels.
Fossil fuel leaks.
Unlisted or defective appliances.
Unvented combustion appliances used as primary heat source shall be presented as the highest priority.
Any other safety related issue, such as radon, that is identified.

## Slide 47: Acceptable Procedures (Step 2)
Next in importance for reporting are the ventilation and moisture issues that may cause health issues to arise.

## Slide 48: Acceptable Procedures (Step 3)
Building performance improvement recommendations designed to provide energy or heat transfer savings. Heat transfer is also referred to as Btuh changes. Some software calculates energy savings from a particular building improvement opportunity, and other software calculates the Btuh reduction in the heating/cooling load.

## Slide 49: Acceptable Procedures (Step 3)
Energy savings opportunities identified should be listed by their potential to save the home owner the most money per dollar spent. In other words savings with a pay back to include:
Improvements with the largest savings (energy or heat transfer) potential, and
Improvements with the best cost-to-benefit ratio.

## Slide 50: Acceptable Procedures (Step 4)
The last items covered are comfort, IAQ, or building durability improvement areas that do not provide energy or Btu/h savings. For these items, it is important for the Technician to list the beneficial effect associated with the implementation of the improvement opportunities.

## Slide 51: Acceptable Procedures (Step 4)
It is important to note that even though these items are last on the list to be covered, they may be the most important issues to the home owner. After all, would you be satisfied if you were uncomfortable, had stale musty air, or if the work or equipment fell apart within a year of your homes performance improvement’s completion?

## Slide 52: Documentation Required
The Technician must provide the home owners with all of the following types of documentation:
A record of all of the audit’s findings and benchmarks used to develop the resulting proposed Scopes of Work.

## Slide 53: Documentation Required
Detailed corrective actions that are proposed to be performed on the building in accordance with the scopes of work including detailed specifications for the items recommended based on the §6.0 (in the 12 QH Technician’s Guide) based findings.
All of the cost/benefit analysis information to include: Software reports, checklist calculations, and other information used to demonstrate the value of proposed work to be performed.

## Slide 54: Documentation Required
When safety issues are not accepted as part of the work scope; the Technician needs to keep a copy of a signed release from the homeowners indicating that they were made aware of the safety or health issues revealed during the audit.