## Slide 1: Part 2 Technician’s Guide & Workbook for Duct Diagnostics and Repair

## Slide 2: Section 1.2 Duct Basics: Duct Systems

## Slide 3: Zone Pressurization
Positive Pressure

## Slide 4: Zone Pressurization
Negative Pressure

## Slide 5: Energy Losses When Fan Is Off
When the fan is off, the leaks in the ducts will add
to the leaks in the building. Unsealed duct in
unconditioned space can have an area open to the
Outside that will add up to 10%-20% of the total
Building’s leakage.
Note: Those leaks are often in areas where the
greatest negative pressure is present.

## Slide 6: Thermosyphoning
Furnace
Supply Duct in Attic
Return Duct in Crawl Space

## Slide 7: Thermosyphoning
Furnace
Supply Duct in Attic
Return Duct in Crawl Space
Winter

## Slide 8: Thermosyphoning
Furnace
Supply Duct in Attic
Return Duct in Crawl Space
Summer

## Slide 9: Duct Location & Thermal Region

## Slide 10: Health Hazards & Thermal Comfort

## Slide 11: Inspecting Duct Systems
Safety First:
Guard against falls, cuts, and other personal injuries;
Unless you are a trained electrical controls technician, do not open up or probe into any electrical devices, wires, or connections;
Wear an approved mask if you go into an area with fiberglass or loose fill insulation; and

## Slide 12: Inspecting Duct Systems
Safety First:
Before you touch any un-insulated duct, hold your hand about an inch from the duct to check if it is hot. This is especially important in furnaces fueled with gas or oil, because what looks like a small duct might actually be the vent pipe, and it might actually be hot enough to burn your hand.

## Slide 13
Heat to
Building
100
Furnace
Losses
43
Total Fuel
Energy
197
System
Interactions
Conduction
Leakage
54
Inspection Factors

## Slide 14: Duct Sketch
Sketch Should Include:
Supply ducts with size, length, fittings, and outlet locations.
Return ducts with size, length, fittings, and outlet locations.
Diffuser and grille types and sizes.
Type of filter and filter size
Any other equipment attached to the duct.

## Slide 15: Duct Sketch
Sketch Should Include:
Supply ducts with size, length, fittings, and outlet locations.
Return ducts with size, length, fittings, and outlet locations.
Diffuser and grille types and sizes.
Type of filter and filter size
Any other equipment attached to the duct.
Note:
A good practice is to include exhaust
system locations, sizes and rated CFM

## Slide 16: Lessons Learned
You should now be able to explain how bad ducting can influence HVAC system efficiency.
You should now be able to explain why some locations are better efficiency-wise for installing duct work.
You should now be able to explain what thermosyphoning means in a duct system.