## Slide 1: Part 7 Technician’s Guide & Workbook for Duct Diagnostics and Repair

## Slide 2: Section 3.1: Updating Duct Designs

## Slide 3: Typical Tract Built Layout & Construction

## Slide 4: Typical Tract Built Layout & Construction
HVAC equipment and the duct
is located in the crawl space.
Supply Diffuser
Locations
Pantry
Bedroom
Bedroom
Bedroom
Bedroom
Great Room
Formal Living Room
Foyer
Bath
Bath
Closet
Kitchen

## Slide 5: Typical Tract Built Layout & Construction
HVAC equipment and the duct
is located in the crawl space.
Return Diffuser
Locations
Pantry
Bedroom
Bedroom
Bedroom
Bedroom
Great Room
Formal Living Room
Foyer
Bath
Bath
Closet
Kitchen

## Slide 10: Jump Duct

## Slide 11: Good Practices For Duct System Design
The following checklist reviews the important elements of good practice.:
Calculate the loads. Don’t guess. Use ACCA Manual J (Residential) or Manual N (Commercial);
Size equipment properly. Use ACCA Manual S (Residential) or Manual CS (Commercial);
Keep ducts in the conditioned space as much as possible;
Use the ACCA Manual D (Residential) or Manual Q (Commercial) duct sizing procedure;

## Slide 12: Good Practices For Duct System Design
Route ducts directly, especially if they have to be placed in unconditioned spaces;
Use low-loss duct fittings; this permits smaller duct cross sections to be used. Duct fitting choices are covered extensively in ACCA Manual D or Manual Q;
Locate supply registers near inside walls where feasible;
Locate return grilles near outside walls or over heat sources where feasible;

## Slide 13: Good Practices For Duct System Design
Seal ducts using a method that will ensure long life, i.e., U.L. Listed mastic;
Insulate ducts in unconditioned spaces (R-8 to R-11 preferred); and
Specify maximum 2% supply and return leakage to unconditioned spaces; and;
Require (DO) a test to confirm the 2% leakage duct performance was achieved.

## Slide 14: Lessons Learned
You should now be able to explain what a good duct design looks like.
You should now be able to develop an installation plan based on good duct design practices.
You should now be able to explain why you may want to recommend adding jump ducting.
You should be able to explain why recommending a duct leakage test is a good practice.