## Slide 1: Technician’s First Guide and Workbook Section 2: Refrigeration Cycle

## Slide 2: HVACR Refrigerant Cycle
This Course is designed to get technician’s ready for the field as fast as possible. An understanding of how an HVAC system cycle works is an important basic lesson.

## Slide 3: HVACR Basic Refrigerant Cycle

## Slide 4: High Pressure Side Red (Generally Outside Components)

## Slide 5: Low Pressure Side Blue (Generally Inside Components)

## Slide 6: Evaporator (Generally Inside Components)

## Slide 7: Low- Temperature, Low-pressure (cold) Refrigerant
40OF

## Slide 8: Return Airflow In The HVAC System
75OF

## Slide 9: Supply Airflow In The HVAC System
50OF

## Slide 10: Supply Airflow In The HVAC System
50OF

## Slide 11: Compressor Suction or Low-Pressure side

## Slide 12: Compressor Suction / Low-Pressure side
Warm/superheated Refrigerant Gas at a Low Pressure

## Slide 13: Compressor Discharge / High-Pressure side
Super Heated
High Pressure Refrigerant Gas

## Slide 14: Condenser Relatively Warm Outside Air In
95OF

## Slide 15: Condenser Hotter Outside Air Out
102OF
Intermediate Temperature Refrigerant as a High Pressure Liquid

## Slide 16: Filter Dryer and Receiver

## Slide 17: Expansion Valve
Low Pressure Cold Refrigerant Vapor

## Slide 18: Back To Where We Started (Low- Temperature, Low-pressure (cold) Refrigerant)
40OF

## Slide 19: Lessons Learned
You should now know that heat transfers/moves from hot to cold.
You should now be able to explain the air temperature rise at the condenser is based on the refrigerant temperature decrease.
You should now be able to explain the air temperature decrease at the evaporator is based on the refrigerant temperature increase.
You should now be able to draw the basic refrigerant cycle and show where the refrigerant temperatures and pressures increase and decrease and where the air temperatures increase and decrease.