## Slide 1: Technician’s First Guide and Workbook Section 6: Basic HVAC Equipment Types

## Slide 2: Basic HVAC Equipment Types
Everyone wants to be comfortable in their homes. As technology improved, the ability to provide comfort became available to all. Historically, most of the homes in the United States had a system for heating the home. Many of those systems still exist today, and some have added HVAC components in order to comfort conditioning to one or more of the rooms in a home. Beginning in the late 1950s cooling was added as an option for many types of central systems.

## Slide 3: Baseboard Heating and Radiators

## Slide 4: Baseboard Heating Elements

## Slide 5: Package Terminal Air Conditioner (PTAC)

## Slide 6: Mini-Split Systems

## Slide 7: Fossil Fuel Furnaces

## Slide 8: Hydronic and Electric Furnaces

## Slide 9: Fossil Fuel Boilers

## Slide 10: Electric Boiler

## Slide 11: Residential Chiller

## Slide 12: Hydronic Air Handler

## Slide 13: Split AC System

## Slide 14: Heat Pump Piston Expansion Device

## Slide 15: Heat Pump Heating Cycle

## Slide 16: Heat Pump Cooling Cycle

## Slide 17: Water-To-Refrigerant Heat Exchanger

## Slide 18: Lessons Learned
You should now be able to identify gas, oil, and electric furnaces.
You should now be able to explain why there are fins on coils and heat exchangers that transfer heat to the air.
You should now be able to explain how to tell if a boiler system is hydronic or contains steam.
You should now be able to explain how the heat pump cycle works for heating and cooling.