QH Instructor’s Lesson Plan

Day 1

Part 1: 47 power point slides

Subjects:

- Purpose

- Scope

- Interview

- Basics Math Review

- Measuring/calculating Surface Area

Part 2: 59 power point slides

Subjects:

- Measuring/calculating Volumes

- Fossil Fuel health & Safety

- CO Testing

- CO Free Air Formula (NFG Tables)

Part 3: 44 power point slides

Subjects:

- CAZ Volume Sample Problems

- Air Free CO PPM Sample Problems

Part 4: 33 power point slides

Subjects:

- Gas/Oil Leakage Testing

- Unvented Combustion Appliances

- CAZ Test Area Measurement

- CAZ Test (Depressurization Test)

- Spillage Test

Day 2

Part 1: 57 power point slides

Subjects:

- Combustion Ventilation Sizing

- Combustion Air Ducting Inspection

- Insulation Introduction

Part 2: 56 power point slides

Subjects:

- Walls and Floors

- Ceilings and attics

- Roofs

- Doors

- Home’s Age

- Framing Characteristics

- Windows and Glass

- Skylights

Part 3: 45 power point slides

Subjects:

- Ventilation

- Introduction to Electrical Energy Savings

- HVAC System Inspection

- Heat Exchangers and ESP

Part 4: 56 power point slides

Subjects:

- Duct System Inspection

- Exhaust System Inspection

- CAZ Test Area Measurement

- CAZ Test (Depressurization Test)

- Spillage Test

- Duct Leakage Testing

Day 3

Part 1: 57 power point slides

Subjects:

- Room Pressure Differences

- Water Heating Appliances

- Appliance Inspection

- Moisture

- Pools & Spas

- Unsafe Conditions

Part 2: 62 power point slides

Subjects:

- Discretionary Items For Cost Benefit

- Assessing Improvements

- Assessment Table Values for CO

- Assessment Table Values for Combustion Appliances

Part 3: 45 power point slides

Subjects:

- Assessment Table Values for Envelope Ventilation

- Assessment Table Values for Envelope Insulation

- Assessment Table Values for Airflow

- Assessment Table Values for HVAC Temperature Difference

Part 4: 56 power point slides

Subjects:

- Assessment Table Values Duct Leakage Testing

- Assessment Table Values Room Pressure Differences

- Assessment Table Values Hot Water Heating

- Assessment Table Values Appliances and Equipment

- Assessment Table Values Pools & Spas

Day 4

Part 1: 52 power point slides

Subjects:

- Assessment Table Discretionary Values

- Cost Benefit Analysis

- Presenting Performance Improvements

Part 2: 48 power point slides

Subjects:

- IIPI Safety

- IIPI Envelope

- IIPI Ventilation

Part 3: 43 power point slides

Subjects:

- IIPI Insulation

- IIPI HVAC

- IIPI Moisture and Pools & Spas

- Test Out Procedures