## Slide 1: Technician’s First Guide and Workbook Section 12: Hydronic System Basics (2)

## Slide 2: Typical Hydronic Configuration

## Slide 3: Solenoid Valves

## Slide 4: Check Valves

## Slide 5: Flanged Dielectric Connector

## Slide 6: Union Dielectric Connector

## Slide 7: Water Pressure Regulating Valve

## Slide 8: Water Pressure Gauge

## Slide 9: Safety Valve

## Slide 10: Expansion Tanks
Older boiler systems may still have a gravity type of expansion tank. They are generally located at the highest point in the system. They are pressure containers that provide a place for water being heated to expand without adding pressure to the system. They are generally designed to be about ¼ the way full when the system water is colder, and 3/4 of the way filled when the system water is warm/hot. This type of expansion tank will usually have a sight glass so that the water level can be seen. Most of today’s systems have a tank that contains an air bladder.

## Slide 11: Expansion Tank

## Slide 12: Water Flow Through The Boiler

## Slide 13: Air Separator

## Slide 14: Auto Vent

## Slide 15: Water Circulator Pumps

## Slide 16: Radiators & Coils

## Slide 17: Balancing Hydronic Systems

## Slide 18: Lessons Learned
You should now be able to identify a circulating pump on a hydronic system.
You should now be able to identify a safety valve and explain why the size is important.
You should now be able to identify a pressure regulator on a hydronic system.
You should now be able to identify an expansion tank in a hydronic system.
You should now be able to Identify an air separator and an auto vent in a hydronic system.