Safety Concern – ENT Endoscope Reprocessing –

Branch Location

Safety Net: 97012

| Situation | Branch location Clinic is reusing endoscopes on patients without proper reprocessing |
| --- | --- |
| Background | - Outbreaks related to improper endoscope reprocessing are well documented. - Current practice in a branch location ENT clinic does not align with national ANSI/AAMI standards, endoscope manufacturer’s instructions for use (IFU), or Billings Clinic policy IC-513 Endoscopes: Cleaning and Processing. - Current practice places patients at risk for infection and organization at substantial accreditation and reputational risk. |
| Assessment & Request | - Immediate notification to Bozeman Executive leadership, including regional CMO, CEO of critical patient safety issue. - Commitment from ENT provider to follow approved practices and stop reusing ENT scopes, effective immediately. - Appoint one person who is qualified and experienced to have overall active oversight of endoscope practices in this branch location. |