

**Sterilization Reminders**

Did you load the sterilizer properly, placing light

items on top and heavy trays on bottom?

 according to the sterilizer manufacturer’s recommendations?

Did you inspect the processed loads for wetness and allow proper cooling before use?

Did you record the sterilization parameters for each cycle?

Did you perform biologic monitoring as indicated and record the results?