PAGE  
2

Endoscope Reprocessing Competency
Staff Member Name:___________________________
Circle assessment of 

performance:



Competencies

	Met
	Not Met
	N/A
	Verbalizes knowledge of cleaning and disinfecting solutions used, labeling, length of effective use life and soak times.

	Met
	Not Met
	N/A
	Documents concentration of glutaraldehyde appropriately (e.g., if used daily, test daily).

	Met
	Not Met
	N/A
	Wears personal protective equipment, including gown, gloves, and eyewear.

	Met
	Not Met
	N/A
	Demonstrates initial gross decontamination of exterior of scope and accessories.  Wipes exterior of scope with clean cloth soaked in detergent or enzymatic cleaner.  

	Met
	Not Met
	N/A
	Leak tests scope.

	Met
	Not Met
	N/A
	Uses suction to fill channels with detergent or enzymatic cleaner. 

	Met
	Not Met
	N/A
	Demonstrates the process of manual washing and brushing all channels, ports and valves with appropriately prepared detergent or enzymatic cleaner.

	Met
	Not Met
	N/A
	Brushes lip of biopsy port.

	Met
	Not Met
	N/A
	Rinses exterior of scope, uses suction to rinse interior until fluid is clear, ends by suctioning air to clear fluid from scope.

	Met
	Not Met
	N/A
	Fills interior channels with glutaraldehyde and immerses completely to prevent air bubbles.  Utilizes 20 minute immersion time.

	Met
	Not Met
	N/A
	Demonstrates the proper use of the automatic processor.  Verbalizes knowledge of test cycles before and after use.  Uses biological and chemical indicators.

	Met
	Not Met
	N/A
	Avoids contaminating clean and/or disinfected items with dirty gloves.  Washes hands after removing dirty gloves.  Dons clean gloves prior to removing scope/accessories from glutaraldehyde.

	Met
	Not Met
	N/A
	Rinses scope with sterile water, filtered water, or tap water.  Uses "clean" suction.

	Met
	Not Met
	N/A
	Rinses the insertion tube and inner channels with 70% alcohol. 

	Met
	Not Met
	N/A
	Uses forced air to dry the scope before storage.

	Met
	Not Met
	N/A
	Demonstrates proper cleaning, high-level disinfection, rinsing and drying of all accessories.

	Met
	Not Met
	N/A
	Demonstrates proper cleaning and sterilization of biopsy forceps and other cutting instruments that enter sterile body sites.

	Met
	Not Met
	N/A
	Labels or packages disinfected scopes/accessories to indicate disinfection has been done.

	Met
	Not Met 
	N/A
	Is able to state conditions indicating a scope has not been disinfected (e.g., if not labeled or packaged, scope is considered contaminated and requires high-level disinfection prior to use).

	Met
	Not Met
	N/A
	Properly stores scope/accessories in a clean location. 

	Met
	Not Met
	N/A
	Empties and disinfects water bottles.

	Met
	Not Met
	N/A
	Disinfects brushes.

	Met
	Not Met
	N/A
	Empties and cleans pans.

	Met 
	Not Met
	N/A
	Removes personal protective gear and discards appropriately.

	Met
	Not Met
	N/A
	Washes hands before leaving reprocessing room.


I certify that this individual has met all competencies for reprocessing endoscopes.

Signature:______________________     Date:_________________

Print Name:_____________________     Title:_________________
Adapted from a competency developed by the University of North Carolina Health Care System

Adapted from a competency developed by the University of North Carolina Health Care System


