Electric Shock Drowning / Near Drowning Response and Investigation Checklist

The two-page checklist that follows is designed to assist officers, investigators, and other first responders in the accurate recognition and reporting of Electric Shock Drowning (ESD) events.

It is not intended to be exhaustive. It covers basic, but critical, actions and information for use in making the initial response, assessment, and determination of the reportability of the suspected or confirmed incident. It can and should be customized to incorporate jurisdiction-specific provisions and contact information.

INITIAL RESPONSE/SAFETY MEASURES

√ Secure the Scene

- Turn off ALL power sources to the boat and/or dock.

- If there is ANY doubt about the source of the current, shut down power to the entire area/marina.

If power is shut down, be ready to have a state code or local power board official on scene to authorize repower of the affected area.

THE AREA SHOULD BE DEEMED ‘SAFE’ BEFORE ANY ACTION IS TAKEN TO ASSIST/RECOVER VICTIM(S)!

√ Assist/Recover Victim(s)

- Use of Automated External Defibrillator (AED) may be required.

√ Ask critical questions about the Victim(s):

- Did the Victim(s) exhibit any of the following behaviors alone or in combination?

| Often associated with ESD… |  | Often associated with Drowning… |  | Often associated with Electrocution… |  |
| --- | --- | --- | --- | --- | --- |
| ‘Tingling’ sensation, numbness, pain, paralysis; may initially be able to shout; looks distressed, not playful; may move into drowning behavior once water enters lungs |  | Cannot speak or shout; reflexive ‘ladder-climbing’; looks playful; behavior lasts approximately 60 seconds for adult, 20 seconds for child |  | May be able to scream once; sudden cessation of all activity; if wearing PFD, may roll onto back, become unresponsive; if there is no flotation, will likely roll face-down |  |

- Did the Victim(s) exhibit any “burn marks” or other body trauma?

  - ESD victims will show NO apparent bodily injury or trauma.

- Did the Victim(s’) condition worsen when swimming toward a particular boat or dock, when swimming between two boats, or when swimming between a particular boat and a dock?

  - Take note of the locations/boats involved for investigation as possible stray current sources. Victims seeking a “safe haven” may actually have been swimming closer to the source of the electricity.

- Did the Victim(s) have any pre-existing medical or heart condition?

  - Such condition(s) could have rendered the victim(s) even more susceptible to a minute amount of AC current.

Continues next page

INITIAL ASSESSMENT/DATA COLLECTION ON SCENE

√ Ask critical questions about the Environment:

- Is the area freshwater or salt water?

  - ESD generally does not occur in salt water/high salinity areas (although it is not impossible).

- Are there boat(s) at the dock that have potential power sources for emitting stray alternating current (AC) into the water?

  - Consider lower units, propellers, metal ladders, other metal objects attached to/through hulls, etc.

  - On-board generators are NOT a possible source unless the generator provided AC power to an adjacent boat or location other than the boat on which the generator is located.

- Does the potential source boat have only direct current (DC) power?

  - Twelve-volt electricity will NOT cause ESD.

√ Document other critical information about the potential boat(s) involved and the site:

- Hold/seize/impound any nearby, potentially-involved boat(s).

- Document the type of electrical safety equipment (circuit breakers, power cords, etc.) at the pedestal and distribution panels.

- Record seating/standing diagrams of all occupants of the boat.

- Document all safety signage at the dock/marina.

- Gather complete history of involved boat (ownership, repairs, maintenance, slip rental, service records (if any) on pedestal supplying power to boat)

If the INITIAL ASSESSMENT indicates the possibility of ESD, the source of stray AC current should be investigated.

As soon as possible, notify the local or state agency with jurisdiction over electrical inspection and permitting. Efforts also should be made to communicate with the medical examiner/coroner that ESD may be a factor.

Investigation may involve:

- Use of electrical probe and multimeter (two persons required)

  - See procedure/tool described in NASBLA’s Level I Comprehensive Incident Investigation Course (Module 2-06)

- Request to an ABYC-certified Marine Electrician for assistance [State: insert web address or phone number]

If no source is identified through these methods, but ESD is still suspected, consider:

- If there is a boat with a cycling appliance that was not operating at the time of the testing.

- If the source vessel(s) may have departed the area prior to testing.

INVESTIGATING SOURCE OF STRAY AC CURRENT

DETERMINE WHETHER INCIDENT IS REPORTABLE TO THE COAST GUARD

| If the source is determined to be contact with electrical current from a vessel or its equipment, including system failure and stray current, an incident report to the Coast Guard is required (CG-BSX Policy Letter 23-01, CH-1 (26 Sep 2023) - Recreational Boating Incident Reporting). |  | Incidents that involve ‘hot docks’ (where the source of the stray current is associated with a dock or shore power, rather than a boat) are not required to be reported to the USCG but should be addressed through immediate intervention/correction, usually in cooperation with the assistance of the local fire department, fire marshal, inspector, etc. |  |
| --- | --- | --- | --- |

For more information & resources: https://www.nasbla.org/nasblamain/lighthouse/nasbla-lighthouse