Vagus Nerve Stimulator (VNS) Therapy Magnet Instructions

For Use Only By Trained Staff

A vagus nerve stimulator (VNS) is a small generator surgically implanted under the skin in the upper left chest, with a wire connected to the vagus nerve in the neck. It sends mild electrical pulses through the nerve to help reduce the frequency and severity of seizures. A handheld magnet can be swiped over the device to deliver an extra pulse, which may help stop or shorten a seizure.

MAGNET LOCATION:  [EDIT LOCATION FOR THIS STUDENT] e.g., health room, classroom, with student, etc).

PROCEDURE

- At the onset of observable seizure activity, swipe the magnet over the VNS generator (usually in the upper left chest area) in a single, swift motion lasting 1-2 seconds.

- Immediately remove the magnet to allow the stimulation to occur.

- If the seizure does not stop within 60 seconds, swipe again, up to 3 times, 60 seconds apart. [EDIT FOR INDIVIDUAL ORDER]

- Note the time the seizure started and the magnet was used.

- Remain with the student and closely observe breathing, responsiveness, and seizure activity.

- Follow the seizure action plan, which may include administering rescue medication. [EDIT FOR INDIVIDUAL ORDER]

- Call 911 (EMS) if any of the following occur:  [EDIT FOR INDIVIDUAL ORDER]

- Seizure does not stop or continues beyond the student’s typical pattern

- Repeated seizures occur without full recovery

- Breathing is abnormal, difficult, or the student does not regain consciousness

- A serious injury occurs

- You are concerned about the student’s condition

- Notify the school nurse/ parent/ guardian.

- Allow the student to rest and recover.

- Return to class or dismiss home,based on recovery and nurse/parent guidance. [EDIT FOR INDIVIDUAL ORDER]

- Document time of seizure onset, magnet use, response, and all actions taken.

ADDITIONAL INFORMATION

- Do not hold the magnet over the VNS for longer than instructed or it may turn the device off.

- The magnet can be swiped through clothing.

- Keep the magnet at least 10 inches away from credit cards, computers, televisions, and other electronics, as it is very strong and can cause damage.

- Avoid dropping the magnet, as this can weaken it or cause it to break.

Epilepsy Foundation (2022) VNS. https://www.epilepsy.com/treatment/devices/vagus-nerve-stimulation-therapy

Giordano F, Zicca A, Barba C, Guerrini R, Genitori L. Vagus nerve stimulation: Surgical technique of implantation and revision and related morbidity. Epilepsia. 2017 Apr;58 Suppl 1:85-90. doi: 10.1111/epi.13678. PMID: 28386925.

Multnomah Education Service District (2016) Procedure for vagus nerve stimulator.

Image: Epilepsy.net

National Association of School Nurses, School Nursing Evidence-Based Clinical Practice Guideline: Students with Seizures and Epilepsy—CPG Implementation Toolkit (2023), 5.