Sample Water Testing LogPleasant Valley Farm

Name of farm: 	
See farm policy and SOP for specific water sampling procedures.
	Date/time
sampled
	Name of
sampler
	Water source/
sample location
	Date/time
S = Shipped
D = Dropped off
	Laboratory
name
	Quantified
generic E. coli
results and method
	Date results
received
	Exceed
410 CFU
per 100 mL
(yes/no)
	Corrective actions taken (yes/no)
	Supervisor initials

	5/23/16
13:15
	Jack Smith
	Pond/off the dock
	5/23/16
15:00 (D)
	Wedo Poo
	10 CFU/100 mL
Colilert/ 
Qtray 2000
	5/27/16
	No
	No
	EAB
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