Pleasant Valley Farm

Sample Water Testing Log

Name of farm:

See farm policy and SOP for specific water sampling procedures.

| Date/time sampled | Name of sampler | Water source/ sample location | Date/time S = Shipped D = Dropped off | Laboratory name | Quantified generic E. coli results and method | Date results received | Exceed 410 CFU per 100 mL (yes/no) | Corrective actions taken (yes/no) | Supervisor initials |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 5/23/16 13:15 | Jack Smith | Pond/off the dock | 5/23/16 15:00 (D) | Wedo Poo | 10 CFU/100 mL Colilert/ Qtray 2000 | 5/27/16 | No | No | EAB |
| Notes: |  |  |  |  |  |  |  |  |  |
| Notes: |  |  |  |  |  |  |  |  |  |
| Notes: |  |  |  |  |  |  |  |  |  |
| Notes: |  |  |  |  |  |  |  |  |  |
| Notes: |  |  |  |  |  |  |  |  |  |

Reviewed by:	Title:	Date	:

Confidential Record