Water Treatment Monitoring Record Template

Name and address of farm:

Please see the farm food safety plan for overall water treatment procedures.

| Date | Time | Water pH | Water Temperature | Turbidity | Sanitizer (name & rate) | Corrective Action Needed (yes or no) | Initials |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 10/14/20 | 8:35 am | 8.5 | 65° F | 25 NTU | NaOCl 75 ppm | Yes - pH was too high, added citric acid; retested –pH 7.0 | EAB |
| 10/14/20 | 12:00 pm | 7.0 | 72° F | 47 NTU | NaOCl 55 ppm | no | EAB |

*Not all of the above factors may need to be recorded.  Refer to the product’s EPA label for specific use instructions.

Reviewed by:	Title:	Date:

Confidential Record